## TrackingSheet
Tracking Sheet
User fills in all data in this sheet. It is then populated in Individual CC Sheets using the sheet name to match the Command Center name column
When adding a Command Center, also rename a CC checklist sheet to match the CC name in Column C
Data is matched on the CC Name column here to the sheet name of the CC
Location | Designation | CommandCenter Name | Type | Make | Model/Version | Serial Number | Asset Tag | IP Address | Sub | Gateway | DNS 1 | DNS 2 | NTP1 | NTP2
Site1 | designation | CC1 | type | make | model | serial | Tag1 | 192.168.1.1 | 255.255.255.248 | 192.168.1.254 | dns1 | dns2 | ntp1 | ntp2
Site2 | designation2 | CC2 | type2 | make2 | model2 | serial2 | Tag2 | 192.168.1.2 | 255.255.255.248 | 192.168.1.254 | dns1 | dns2 | ntp1 | ntp2

## CC1
| CC Installation Checklist |  |  | LEGEND
| CC Name | CC1 |  | GRAY = Information; Do Not Change Values
| Location | Site1 |  | DARK GREEN = Autopopulated from Tracking and Schedule
| Designation | designation |  | RED = Value missing from Tracking or Schedule sheet
| CC IP | 192.168.1.1 |  | LIGHT GREEN = User entry
| CC Subnet | 255.255.255.248
| CC Gateway | 192.168.1.254
| DNS 1 | dns1
| DNS 2 | dns2 |  | Comments/Issues
| NTP 1 | ntp1
| NTP 2 | ntp2
| CC Type | type
| CC Make | make
| CC Model | model
| CC Serial Number | serial
| CC Asset Tag | Tag1
Backup CC IP
Installation Information
Planned Start Date
Actual Start Date
Engineer
No. | Check | Description | Additional Information | Date/Time Completed | Comments
1 | Document device serial number | Document the serial number from the device to be installed on Tracking sheet. | serial
2 | Confirm CC BIOS Power Settings | Confirm that the CC BIOS is set to boot the system if there is a power loss to the unit.
3 | Confirm Command Center SSH Connectivity for Administrative Management | Try to SSH from an engineering workstation in the enterprise network to the Command Center.
4 | Configure CC with Management IP Information | The CC needs to have the following information for the management IP: IP Address, Subnet Mask, Gateway, DNS Server. This is entered on the Tracking Sheet and will populate here for reference. Use sdconfig to configure IP information. | CC IP:
255.255.255.248
Subnet:
192.168.1.254
Gateway:
192.168.1.254
DNS Server(s):
dns1;dns2
5 | Confirm CSV Localization is Correct | From the Command Center OS CLI (SSH into the system if necessary), run "sudo sdconfig" and choose the proper CSV separator. | CSV Separator:
6 | Change Web Application Admin Password | Browse to the management IP address (https://) and enter the default credentials of 'admin' 'admin'. You will be prompted to create a new admin password.
7 | Upload License | Log into the Command Center GUI, click Upload License -> To Command Center. Browse to the license file, choose Upload then Finish.
8 | Confirm NTP Command Center Settings are Set | From the SilentDefense Command Center GUI, browse to the Command Center NTP settings (Settings -> Date and time). NTP should be enabled and set for the proper NTP servers. | NTP Servers:
9 | Confirm Weekly Alert Cleanup is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a weekly activity to clean up the alert database. Ideally, run every Sunday at 4am. | Number of Days to Keep Alerts:
10 | Confirm Weekly Database Analyze task is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a weekly activity for the Analyze database maintainer task. Ideally, run on Sunday night around 10pm.
11 | Confirm Weekly Host Changelog Cleanup is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a weekly activity for the Host Changelog Cleanup task. Ideally, run every Sunday at 8am.
12 | Confirm Monthly Database Vacuum task is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a monthly activity for the Vacuum database maintainer task. Ideally, run on Sunday at around 12pm every 4 weeks.
13 | Set Expected Network Interface Status for each network interface | Click on the monitor icon in the top right in the dark blue bar. For each network interface, click Edit Settings and change the value to match the current 'running status' for that network interface. No interface's expected status should be left as 'as at startup'.
The following setting is for larger installations. These values should be checked after adding every 5 to 10 sensors.
14 | Change the Druid Historical Node Max Size (To be done at large installations/retuning) | For large installations, update the file "/opt/druid/conf/historical/runtime.properties" and change the parameters - 'druid.server.maxSize' and 'druid.segmentCache.locations' - to a value that is equal to at least 25% greater than the size of the "flow-info" segments in the Command Center -> Diagnostics -> Analytics DB page. | New Value:
The following settings are OPTIONAL.
15 | Set the Login Disclaimer (Optional) | Browse to Settings -> Login Disclaimer and enter the desired disclaimer to display on the login screen.
16 | Set up Local Credentials (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Users and Roles". Create local accounts, passwords, and roles if needed. | Admin PWD: Local Users: (OPTIONAL) Local Roles: Password Rules Length: Char Groups: History: Age: Failures:
17 | Confirm LDAP Integration is Working (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> LDAP" and configure the LDAP system. Verify it works by using LDAP credentials to logon to the SD CC GUI. | AD IP: Backup AP IP: Bind User Name: Bind Password: AD SD Groups:
18 | Confirm Alert Forwarding to SIEM (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Alert Forwarding" page and verify the forwarder is set up correctly. | SIEM IP: Protocol: UDP / TCP / TLS Port: Message Format: CEF / LEEF / JSON
19 | Confirm Network Log Forwarding to SIEM (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Network logs forwarding" page and verify the forwarder is set up correctly.
20 | Confirm User Audit Log Forwarding to SIEM (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> User activity log forwarding" page and verify the forwarder is set up correctly. | SIEM IP: Protocol: UDP / TCP / TLS Port: Message Format: CEF / LEEF / JSON
21 | Confirm Health Status Log Forwarding (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Health status log forwarding" page and verify the forwarder is set up correctly. | SIEM IP: Protocol: UDP / TCP / TLS Port: Message Format: CEF / LEEF / JSON
22 | Replication (Optional) | Enable Replication following Install and Configuration guide

## CC2
| CC Installation Checklist |  |  | LEGEND
| CC Name | CC2 |  | GRAY = Information; Do Not Change Values
| Location | Site2 |  | DARK GREEN = Autopopulated from Tracking and Schedule
| Designation | designation2 |  | RED = Value missing from Tracking or Schedule sheet
| CC IP | 192.168.1.2 |  | LIGHT GREEN = User entry
| CC Subnet | 255.255.255.248
| CC Gateway | 192.168.1.254
| DNS 1 | dns1
| DNS 2 | dns2 |  | Comments/Issues
| NTP 1 | ntp1
| NTP 2 | ntp2
| CC Type | type2
| CC Make | make2
| CC Model | model2
| CC Serial Number | serial2
| CC Asset Tag | Tag2
Backup CC IP
Installation Information
Planned Start Date
Actual Start Date
Engineer
No. | Check | Description | Additional Information | Date/Time Completed | Comments
1 | Document device serial number | Document the serial number from the device to be installed on Tracking sheet. | Tag2
2 | Confirm CC BIOS Power Settings | Confirm that the CC BIOS is set to boot the system if there is a power loss to the unit.
3 | Confirm Command Center SSH Connectivity for Administrative Management | Try to SSH from an engineering workstation in the enterprise network to the Command Center.
4 | Configure CC with Management IP Information | The CC needs to have the following information for the management IP: IP Address, Subnet Mask, Gateway, DNS Server. This is entered on the Tracking Sheet and will populate here for reference. Use sdconfig to configure IP information. | CC IP:
192.168.1.254
Subnet:
dns1
Gateway:
dns1
DNS Server(s):
dns2;ntp1
5 | Confirm CSV Localization is Correct | From the Command Center OS CLI (SSH into the system if necessary), run "sudo sdconfig" and choose the proper CSV separator. | CSV Separator:
6 | Change Web Application Admin Password | Browse to the management IP address (https://) and enter the default credentials of 'admin' 'admin'. You will be prompted to create a new admin password.
7 | Upload License | Log into the Command Center GUI, click Upload License -> To Command Center. Browse to the license file, choose Upload then Finish.
8 | Confirm NTP Command Center Settings are Set | From the SilentDefense Command Center GUI, browse to the Command Center NTP settings (Settings -> Date and time). NTP should be enabled and set for the proper NTP servers. | NTP Servers:
9 | Confirm Weekly Alert Cleanup is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a weekly activity to clean up the alert database. Ideally, run each task on the weekend several hours apart from the other scheduled activities. | Number of Days to Keep Alerts:
10 | Confirm Weekly Database Analyze task is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a weekly activity for the Analyze database maintainer task. Ideally, run each task on the weekend several hours apart from the other scheduled activities.
11 | Confirm Daily Database Reindex is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a daily activity for the Reindex task. Ideally, run each task on the weekend several hours apart from the other scheduled activities.
12 | Confirm Weekly Database Vacuum task is Scheduled | From the SilentDefense Command Center GUI, browse to "Settings -> Activity Scheduling" and set up a weekly activity for the Vacuum database maintainer task. Ideally, run each task on the weekend several hours apart from the other scheduled activities.
13 | Set Expected Network Interface Status for each network interface | Click on the monitor icon in the top right in the dark blue bar. For each network interface, click Edit Settings and change the value to match the current 'running status' for that network interface. No interface's expected status should be left as 'as at startup'.
The following setting is for larger installations. These values should be checked after adding every 5 to 10 sensors.
14 | Change the Druid Historical Node Max Size (To be done at large installations/retuning) | For large installations, update the file "/opt/druid/conf/historical/runtime.properties" and change the parameters - 'druid.server.maxSize' and 'druid.segmentCache.locations' - to a value that is equal to at least 25% greater than the size of the "flow-info" segments in the Command Center -> Diagnostics -> Analytics DB page. | New Value:
The following settings are OPTIONAL.
15 | Set the Login Disclaimer (Optional) | Browse to Settings -> Login Disclaimer and enter the desired disclaimer to display on the login screen.
16 | Set up Local Credentials (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Users and Roles". Create local accounts, passwords, and roles if needed. | Admin PWD: Local Users: (OPTIONAL) Local Roles: Password Rules Length: Char Groups: History: Age: Failures:
17 | Confirm LDAP Integration is Working (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> LDAP" and configure the LDAP system. Verify it works by using LDAP credentials to logon to the SD CC GUI. | AD IP: Backup AP IP: Bind User Name: Bind Password: AD SD Groups:
18 | Confirm Alert Forwarding to SIEM (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Alert Forwarding" page and verify the forwarder is set up correctly. | SIEM IP: Protocol: UDP / TCP / TLS Port: Message Format: CEF / LEEF / JSON
19 | Confirm Network Log Forwarding to SIEM (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Network logs forwarding" page and verify the forwarder is set up correctly.
20 | Confirm User Audit Log Forwarding to SIEM (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> User activity log forwarding" page and verify the forwarder is set up correctly. | SIEM IP: Protocol: UDP / TCP / TLS Port: Message Format: CEF / LEEF / JSON
21 | Confirm Health Status Log Forwarding (Optional) | From the SilentDefense Command Center GUI, browse to "Settings -> Health status log forwarding" page and verify the forwarder is set up correctly. | SIEM IP: Protocol: UDP / TCP / TLS Port: Message Format: CEF / LEEF / JSON
22 | Replication (Optional) | Enable Replication following Install and Configuration guide